Channel mapping of BME-C
ASD channels on a hedgehog card
Multilayer 1
Multilayer 2
Next slides: Counting rates in cards 0 to 6 of CSM 2.

---
CSM-2, Mezzanine card 0
RPC: LV off, HV off
RPC: LV on, HV on

---
CSM-2, Mezzanine card 1

---
CSM-2, Mezzanine card 2

---
CSM-2, Mezzanine card 3

---
CSM-2, Mezzanine card 4

---
CSM-2, Mezzanine card 5

---
CSM-2, Mezzanine card 6

---
     Summary
High counting rates in sMDT layer 1 of multi